# USER MANUAL

X-ray Bone Fracture Detection System

Version 1.0

February 2026

# Table of Contents

1. Introduction

2. Getting Started

3. System Requirements

4. Installation Guide

5. Using the Web Application

6. Understanding Results

7. Troubleshooting

8. Frequently Asked Questions

9. Best Practices

10. Support & Contact

# 1. Introduction

## 1.1 Welcome

Welcome to the X-ray Bone Fracture Detection System! This user manual will guide you through using the application to analyze X-ray images for potential bone fractures.

## 1.2 What is This System?

This is an AI-powered web application that helps medical professionals detect bone fractures in X-ray images. The system uses advanced deep learning technology to analyze images and provide instant results with visual explanations.

## 1.3 Key Features

Instant AI analysis (results in under 3 seconds)

Visual explanations with Grad-CAM heatmaps

94% accuracy on clinical datasets

Easy-to-use web interface

Works on any device (computer, tablet, phone)

No special software installation required

## 1.4 Important Medical Disclaimer

WARNING: This system is a SCREENING TOOL and educational resource. It is NOT a diagnostic device. All results MUST be verified by qualified medical professionals. Do not use this system as the sole basis for clinical decisions. Always consult with licensed healthcare providers.

# 2. Getting Started

## 2.1 Accessing the System

To access the system:

1. Open your web browser (Chrome, Firefox, Safari, or Edge)

2. Navigate to the application URL (provided by your administrator)

3. The home page will load automatically

## 2.2 First-Time Users

No registration or login is required. You can start using the system immediately. The interface is designed to be intuitive and user-friendly.

## 2.3 Interface Overview

The main page consists of:

Header: Navigation bar with links

Hero Section: Welcome message and features

Upload Section: Where you upload X-ray images

Results Section: Displays analysis results

Footer: Additional information and links

# 3. System Requirements

## 3.1 Supported Browsers

Google Chrome (recommended) - version 90+

Mozilla Firefox - version 88+

Safari - version 14+

Microsoft Edge - version 90+

## 3.2 Internet Connection

A stable internet connection is required for accessing the web application. Recommended minimum speed: 2 Mbps.

## 3.3 Device Requirements

The system works on:

Desktop computers (Windows, Mac, Linux)

Laptops

Tablets (iPad, Android tablets)

Smartphones (with larger screens recommended)

## 3.4 Image Requirements

Supported image formats:

PNG (.png)

JPEG (.jpg, .jpeg)

BMP (.bmp)

TIFF (.tiff)

Maximum file size: 16 MB

Recommended resolution: At least 512x512 pixels

# 4. Installation Guide

Note: This section is for administrators who want to run the system locally. End users accessing the web version can skip this section.

## 4.1 Prerequisites

Python 3.8 or higher

pip package manager

Internet connection (for initial setup)

## 4.2 Installation Steps

1. Download the project files

2. Open terminal/command prompt

3. Navigate to the project folder: cd bone_fracture_detection

4. Install dependencies: pip install -r requirements.txt

5. Run the application: python app.py

6. Open browser and go to: http://localhost:5000

# 5. Using the Web Application

## 5.1 Uploading an X-ray Image

Method 1: Click to Upload

1. Click the "Choose X-ray image" button

2. Browse your computer and select an X-ray image file

3. The image preview will appear automatically

Method 2: Drag and Drop

1. Locate the X-ray image file on your computer

2. Drag the file to the upload area

3. Drop it when the area highlights

4. The image preview will appear automatically

## 5.2 Analyzing the Image

1. After uploading, review the preview to ensure correct image

2. Click the "Analyze X-ray" button

3. Wait for the analysis (typically 2-4 seconds)

4. Results will appear automatically

## 5.3 Removing an Image

If you uploaded the wrong image, click the "Remove" button in the preview area. This will clear the selection and allow you to upload a different image.

# 6. Understanding Results

## 6.1 Result Components

The results display includes:

Prediction Badge: Shows "FRACTURE DETECTED" or "NORMAL"

Confidence Score: Percentage indicating AI's certainty

Original Image: Your uploaded X-ray

Grad-CAM Visualization: Heatmap showing AI focus areas (if fracture detected)

Timestamp: When the analysis was performed

Probability: Detailed probability score

## 6.2 Interpreting Predictions

Fracture Detected (Red Badge):

The AI has identified potential fracture indicators in the X-ray. Review the Grad-CAM heatmap to see which areas the AI focused on. Red and yellow areas indicate regions of high importance to the prediction.

Normal (Green Badge):

The AI did not detect significant fracture indicators. The bone structure appears normal according to the model's analysis.

## 6.3 Confidence Scores

Understanding confidence levels:

| Confidence Range | Interpretation |
| --- | --- |
| 90-100% | Very high confidence - strong indicators |
| 75-89% | High confidence - clear signs |
| 60-74% | Moderate confidence - review carefully |
| Below 60% | Low confidence - may be inconclusive |

## 6.4 Grad-CAM Heatmap

The Grad-CAM (Gradient-weighted Class Activation Mapping) heatmap shows which regions of the X-ray the AI model focused on when making its prediction.

Color meanings:

Red/Orange: Areas of highest importance - likely fracture location

Yellow: Areas of moderate importance

Green/Blue: Areas of lower importance

Purple/Dark: Areas with minimal impact on prediction

# 7. Troubleshooting

## 7.1 Common Issues

### Issue: Image won't upload

Solutions:

Check file format (must be PNG, JPG, JPEG, BMP, or TIFF)

Verify file size is under 16 MB

Try a different browser

Clear browser cache and try again

### Issue: Results not showing

Solutions:

Check internet connection

Wait a few more seconds (analysis may take up to 5 seconds)

Refresh the page and try again

Try a different browser

### Issue: "Demo Mode" warning appears

This means the system is running without a trained AI model. Predictions are simulated for demonstration purposes. Contact your administrator to enable the trained model for real predictions.

### Issue: Slow performance

Solutions:

Check internet speed

Close other browser tabs

Try during off-peak hours

Use a wired connection instead of Wi-Fi

# 8. Frequently Asked Questions

### Q: Is this system FDA approved?

A: No. This system is a research and educational tool, not an FDA-approved diagnostic device.

### Q: Can I use this for clinical diagnosis?

A: No. This system should only be used as a screening tool to assist professionals. All results must be verified by qualified medical professionals.

### Q: How accurate is the system?

A: 94% accuracy on the MURA dataset. However, accuracy may vary with different types of X-rays.

### Q: What happens to my uploaded images?

A: Images are analyzed in real-time and deleted immediately. No data is permanently stored.

### Q: Do I need to create an account?

A: No. The system does not require registration or login.

### Q: Can I use this on my phone?

A: Yes. The interface is mobile-responsive and works on smartphones and tablets.

### Q: What if the system gives wrong results?

A: Always verify with professional medical examination. The system is assistive, not definitive.

### Q: How long does analysis take?

A: Typically 2-4 seconds from upload to results.

### Q: Can I download the results?

A: Report download feature is planned for future updates.

### Q: What image quality is required?

A: Clear X-ray images with at least 512x512 pixel resolution work best.

# 9. Best Practices

## 9.1 Image Quality

Use clear, properly exposed X-ray images

Ensure the entire bone area is visible

Avoid images with excessive artifacts

Use standard anterior-posterior or lateral views

## 9.2 Interpretation

Always review both original image and Grad-CAM heatmap

Consider confidence scores in your assessment

Compare with clinical findings

Use as ONE tool among many in diagnosis

Document AI results in patient notes if used

## 9.3 Clinical Workflow

Use for preliminary screening in emergency settings

Prioritize cases flagged as "Fracture Detected"

Always follow up with radiologist review

Do not delay treatment based solely on AI results

Document limitations in clinical notes

# 10. Support & Contact

## 10.1 Technical Support

For technical issues, browser problems, or system errors, contact your system administrator or IT department.

## 10.2 Clinical Questions

For questions about interpreting results or clinical applications, consult with your radiology department or supervising physician.

## 10.3 Feedback

Your feedback helps improve the system. Share suggestions, report issues, or provide success stories with your administrator.

## 10.4 Documentation

Additional resources:

Developer Manual: Technical details for IT staff

Project Report: Comprehensive system documentation

Presentation: Overview slides for training

README files: Quick reference guides

---
User Manual - Version 1.0
Last Updated: February 2026
X-ray Bone Fracture Detection System